## METS 63531 Live
Run | Date | Operator | Level 1 |  |  | Level 2 |  |  | Comments | QC REVIEW | Level 1
|  |  | NMET | MET | 3MT | NMET | MET | 3MT |  |  | NMET | MET | 3MT
1 | 2025-01-22 | HG | 1.89 | 0.559 | 0.24 | 6.54 | 2.44 | 2.23 |  | Mean | 1.8194 | 0.6035 | 0.28935 |  |  | QC 1 (Set) NMET
1.5 | 2025-01-22 | HG | 1.89 | 0.49 | 0.25 | 6.28 | 2.3 | 2.1 |  | SD | 0.16775 | 0.099352 | 0.058294 | QC 1 (Set) - NMET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
2 | 2025-02-11 | HG | 1.76 | 0.51 | 0.23 | 6.62 | 2.5 | 2.66 |  | %CV | 9.2204 | 16.4627 | 20.1467 | Mean | 1.89 | 0 | 1.7 | 1.51 | 1.32 | 2.08 | 2.27 | 2.46 | 1.89
2.5 | 2025-02-11 | HG | 1.82 | 0.52 | 0.22 | 6.48 | 2.43 | 2.58 | [5 empty] | SD | 0.19 | 50 | 1.7 | 1.51 | 1.32 | 2.08 | 2.27 | 2.46 | 1.89
3 | 2025-02-13 | HG | 1.74 | 0.49 | 0.36 | 6.33 | 2.18 | 2.75 | Slightly high IS compared to rest of run
3.5 | 2025-02-13 | HG | 1.75 | 0.54 | 0.35 | 6.53 | 2.2 | 2.83 | Slightly high IS compared to rest of run | [6 empty] | QC 1 (Set) MET
4 | 2025-02-25 | HG | 1.9 | 0.64 | 0.32 | 6.79 | 2.55 | 2.24 | [5 empty] | QC 1 (Set) - MET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
4.5 | 2025-02-25 | HG | 1.85 | 0.61 | 0.27 | 6.86 | 2.55 | 2.27 |  |  | Level 2 |  |  | Mean | 0.57 | 0 | 0.48 | 0.39 | 0.3 | 0.66 | 0.75 | 0.84 | 0.57
5 | 2025-03-11 | HG | 1.73 | 0.54 | 0.25 | 6.42 | 2.3 | 2.07 |  | Running Qc | NMET | MET | 3MT | SD | 0.09 | 50 | 0.48 | 0.39 | 0.3 | 0.66 | 0.75 | 0.84 | 0.57
5.5 | 2025-03-11 | HG | 1.68 | 0.53 | 0.23 | 6.4 | 2.26 | 2.04 |  | Mean | 6.7578 | 2.5376 | 2.3516
6 | 2025-03-18 | HG | 1.96 | 0.57 | 0.33 | 7.48 | 2.64 | 2.52 |  | SD | 0.46593 | 0.25754 | 0.26168 |  |  | QC 1 (Set) 3MT
6.5 | 2025-04-01 | HG | 2.01 | 0.57 | 0.26 | 8.24 | 2.79 | 2.47 |  | %CV | 6.8946 | 10.1489 | 11.1281 | QC 1 (Set) - 3MT |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
7 | 2025-04-01 | HG | 2.12 | 0.61 | 0.3 | 8.07 | 2.89 | 2.46 | [5 empty] | Mean | 0.3 | 0 | 0.25 | 0.2 | 0.15 | 0.35 | 0.4 | 0.45 | 0.3
7.5 | 2025-04-10 | HG/SH | 1.599 | 0.47 | 0.273 | 6.729 | 2.459 | 2.485 | [5 empty] | SD | 0.05 | 50 | 0.25 | 0.2 | 0.15 | 0.35 | 0.4 | 0.45 | 0.3
8 | 2025-04-10 | HG/SH | 1.668 | 0.495 | 0.268 | 6.616 | 2.445 | 2.375
8.5 | 2025-04-29 | HG | 2.12 | 0.6 | 0.37 | 6.91 | 2.52 | 2.49
9 | 2025-04-29 | HG | 2.17 | 0.6 | 0.36 | 6.68 | 2.43 | 2.46 | [7 empty] | QC 2 (Set) NMET
9.5 | 2025-05-08 | HG/AS | 1.88 | 0.64 | 0.32 | 7.19 | 2.78 | 2.5 | [5 empty] | QC 2 (Set) - NMET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
10 | 2025-05-08 | HG/AS | 1.96 | 0.7 | 0.34 | 7.22 | 2.84 | 2.55 | [5 empty] | Mean | 6.87 | 0 | 5.84 | 4.81 | 3.78 | 7.9 | 8.93 | 9.96 | 6.87
10.5 | 2025-05-22 | HG/AS | 2.25 | 0.7 | 0.46 | 7.03 | 2.63 | 3.07 | [5 empty] | SD | 1.03 | 50 | 5.84 | 4.81 | 3.78 | 7.9 | 8.93 | 9.96 | 6.87
11 | 2025-06-09 | HG/AS | 1.54 | 0.47 | 0.39 | 6.76 | 2.24 | 1.9 | IQC live. Borderline low 3MT lvl 2 IQC. No high patient results in run. Accepted HG
11.5 | 2025-06-09 | HG/AS | 1.79 | 0.63 | 0.25 | 6.88 | 2.45 | 1.97 | IQC live. Borderline low 3MT lvl 2 IQC. No high patient results in run. Accepted HG | [6 empty] | QC 2 (Set) MET
12 | 2025-06-09 | HG/AS | 1.56 | 0.52 | 0.27 | 7.24 | 2.64 | 2.19 | IQC live. Borderline low 3MT lvl 2 IQC. No high patient results in run. Accepted HG |  |  |  |  | QC 2 (Set) - MET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
12.5 | 2025-06-09 | HG/AS | 1.82 | 0.61 | 0.28 | 6.39 | 2.47 | 1.96 | IQC live. Borderline low 3MT lvl 2 IQC. No high patient results in run. Accepted HG |  |  |  |  | Mean | 2.51 | 0 | 2.26 | 2.01 | 1.76 | 2.76 | 3.01 | 3.26 | 2.51
13 | 2025-06-17 | HG/JL | 1.61 | 0.56 | 0.25 | 6.77 | 2.97 | 2.13 | [5 empty] | SD | 0.25 | 50 | 2.26 | 2.01 | 1.76 | 2.76 | 3.01 | 3.26 | 2.51
13.5 | 2025-06-17 | HG/JL | 1.89 | 0.73 | 0.32 | 6.28 | 2.65 | 2.22
14 | 2025-06-17 | HG/JL | 1.77 | 0.68 | 0.29 | 6.6 | 2.87 | 2 | [7 empty] | QC 2 (Set) 3MT
14.5 | 2025-06-17 | HG/JL | 1.58 | 0.7 | 0.21 | 6.96 | 2.87 | 2.12 | [5 empty] | QC 2 (Set) - 3MT |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
15 | 2025-07-01 | HG/AS | 1.948 | 0.74 | 0.207 | 6.627 | 2.616 | 2.023 | Boderline high MET IQC. No positive patient METs in run. Run accepted HG |  |  |  |  | Mean | 2.46 | 0 | 2.21 | 1.96 | 1.71 | 2.71 | 2.96 | 3.21 | 2.46
15.5 | 2025-07-01 | HG/AS | 1.861 | 0.768 | 0.25 | 7.163 | 2.956 | 2.157 | Boderline high MET IQC. No positive patient METs in run. Run accepted HG |  |  |  |  | SD | 0.25 | 50 | 2.21 | 1.96 | 1.71 | 2.71 | 2.96 | 3.21 | 2.46
16 | 2025-07-01 | HG/AS | 1.734 | 0.82 | 0.225 | 7 | 2.975 | 2.274 | Boderline high MET IQC. No positive patient METs in run. Run accepted HG
16.5 | 2025-07-01 | HG/AS | 1.715 | 0.818 | 0.221 | 6.968 | 3.032 | 2.268 | Boderline high MET IQC. No positive patient METs in run. Run accepted HG
17 | 2025-07-14 | HG | 1.89 | 0.67 | 0.34 | 6.71 | 2.37 | 2.55
17.25 | 2025-07-14 | HG | 1.92 | 0.66 | 0.25 | 6.67 | 2.42 | 2.63
17.5 | 2025-07-14 | HG | 1.86 | 0.71 | 0.37 | 6.77 | 2.58 | 2.63
18 | 2025-07-14 | HG | 1.84 | 0.69 | 0.36 | 6.51 | 2.54 | 2.41
18.5 | 2025-07-22 | HG | 1.73 | 0.45 | 0.29 | 6.05 | 2.23 | 2.43
19 | 2025-07-22 | HG | 1.68 | 0.49 | 0.23 | 6.01 | 2.04 | 2.18
19.5 | 2025-07-22 | HG | 1.62 | 0.5 | 0.3 | 6.08 | 2.13 | 2.47
20 | 2025-07-22 | HG | 1.67 | 0.54 | 0.27 | 6.46 | 2.32 | 2.4
20.5
21
21.5
22
22.5
23
23.5
24
24.5
25
25.5
26
26.5
27
27.5
28
28.5
29
29.5
30
30.5
31
31.5
32
32.5
33
33.5
34
34.5
35
35.5
36
36.5
37
37.5
38
38.5
39
39.5
40
40.5
41
41.5
42
42.5
43
43.5
44
44.5
45
45.5
46
46.5
47
47.5
48
48.5
49
49.5
50
50.5
51
51.5
52
52.5
53
53.5
54

## METS 63510
Run | Date | Operator | Level 1 |  |  | Level 2 |  |  | Comments | QC REVIEW | Level 1
|  |  | NMET | MET | 3MT | NMET | MET | 3MT |  |  | NMET | MET | 3MT
1 | 2025-01-06 | HG | 1.65 | 0.46 | 0.16 | 6.71 | 2.17 | 2.45 | Go live | Mean | 1.752 | 0.45273 | 0.21475 |  |  | QC 1 (Set) NMET
1.5 | 2025-01-06 | HG | 1.66 | 0.43 | 0.15 | 5.79 | 1.92 | 2.13 | Borederline low 3MT IQC 1. Accepted HG. | SD | 0.11804 | 0.055577 | 0.031885 | QC 1 (Set) - NMET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
2 | 2025-01-06 | HG | 1.79 | 0.52 | 0.2 | 6.44 | 2.11 | 2.42 |  | %CV | 6.7374 | 12.2761 | 14.8479 | Mean | 1.65 | 0 | 1.48 | 1.31 | 1.14 | 1.82 | 1.99 | 2.16 | 1.65
2.5 | 2025-01-06 | HG | 1.57 | 0.45 | 0.19 | 6.53 | 2.22 | 2.45 | [5 empty] | SD | 0.17 | 50 | 1.48 | 1.31 | 1.14 | 1.82 | 1.99 | 2.16 | 1.65
3 | 2025-01-06 | HG | 1.83 | 0.57 | 0.18 | 6.78 | 2.11 | 2.64
3.5 | 2025-01-06 | HG | 1.59 | 0.53 | 0.23 | 6.46 | 1.93 | 2.63 | [7 empty] | QC 1 (Set) MET
4 | 2025-01-06 | HG | 1.86 | 0.54 | 0.16 | 6.11 | 1.95 | 2.67 | [5 empty] | QC 1 (Set) - MET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
4.5 | 2025-01-14 | HG | 1.91 | 0.49 | 0.21 | 8.67 | 2.83 | 3.16 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG |  | Level 2 |  |  | Mean | 0.45 | 0 | 0.38 | 0.31 | 0.24 | 0.52 | 0.59 | 0.66 | 0.45
5 | 2025-01-14 | HG | 1.82 | 0.56 | 0.26 | 8.92 | 2.85 | 3.21 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG | Running Qc | NMET | MET | 3MT | SD | 0.07 | 50 | 0.38 | 0.31 | 0.24 | 0.52 | 0.59 | 0.66 | 0.45
5.5 | 2025-01-14 | HG | 1.81 | 0.54 | 0.24 | 8.99 | 2.88 | 3.16 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG | Mean | 6.9944 | 2.1878 | 2.4106
6 | 2025-01-14 | HG | 1.8 | 0.45 | 0.26 | 8.83 | 2.76 | 3.22 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG | SD | 0.83531 | 0.27673 | 0.32821 |  |  | QC 1 (Set) 3MT
6.5 | 2025-01-14 | HG | 1.85 | 0.46 | 0.23 | 8.31 | 2.65 | 2.95 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG | %CV | 11.9426 | 12.6489 | 13.6154 | QC 1 (Set) - 3MT |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
7 | 2025-01-14 | HG | 1.86 | 0.49 | 0.21 | 8.92 | 2.84 | 3.08 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG |  |  |  |  | Mean | 0.21 | 0 | 0.18 | 0.15 | 0.12 | 0.24 | 0.27 | 0.3 | 0.21
7.5 | 2025-01-14 | HG | 1.88 | 0.55 | 0.23 | 8.85 | 2.73 | 3.12 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG |  |  |  |  | SD | 0.03 | 50 | 0.18 | 0.15 | 0.12 | 0.24 | 0.27 | 0.3 | 0.21
8 | 2025-01-22 | HG | 1.7 | 0.49 | 0.16 | 6.43 | 2.04 | 2.16 | Fresh IQC 22/01/25
8.5 | 2025-01-22 | HG | 1.6 | 0.34 | 0.18 | 6.52 | 2.07 | 2.18 | Fresh IQC 22/01/25
9 | 2025-01-22 | HG | 1.63 | 0.49 | 0.17 | 6.18 | 2.02 | 2.11 | Fresh IQC 22/01/25 | [6 empty] | QC 2 (Set) NMET
9.5 | 2025-01-22 | HG | 1.68 | 0.49 | 0.19 | 6.17 | 2.04 | 2.07 | Fresh IQC 22/01/25 |  |  |  |  | QC 2 (Set) - NMET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
10 | 2025-01-22 | HG | 1.69 | 0.51 | 0.2 | 6.31 | 2.04 | 2.12 | Fresh IQC 22/01/25 |  |  |  |  | Mean | 6.44 | 0 | 5.47 | 4.5 | 3.53 | 7.41 | 8.38 | 9.35 | 6.44
10.5 | 2025-01-22 | HG | 1.62 | 0.41 | 0.18 | 6.37 | 2.1 | 2.19 | Fresh IQC 22/01/25 |  |  |  |  | SD | 0.97 | 50 | 5.47 | 4.5 | 3.53 | 7.41 | 8.38 | 9.35 | 6.44
11 | 2025-01-22 | HG | 1.71 | 0.49 | 0.17 | 6.17 | 1.97 | 2.13 | Fresh IQC 22/01/25
11.5 | 2025-01-22 | HG | 1.77 | 0.42 | 0.17 | 6.18 | 1.92 | 2.16 | Old IQC from 02/09/24 | [6 empty] | QC 2 (Set) MET
12 | 2025-01-22 | HG | 1.81 | 0.42 | 0.2 | 6.4 | 2 | 2.22 | Old IQC from 02/09/24 |  |  |  |  | QC 2 (Set) - MET |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
12.5 | 2025-02-11 | HG | 1.64 | 0.41 | 0.23 | 6.91 | 2.26 | 2.46 | [5 empty] | Mean | 1.93 | 0 | 1.74 | 1.55 | 1.36 | 2.12 | 2.31 | 2.5 | 1.93
13 | 2025-02-11 | HG | 1.73 | 0.41 | 0.21 | 6.92 | 2.36 | 2.62 | Borderline high IQC result. Not clinically significant. Run accepted HG |  |  |  |  | SD | 0.19 | 50 | 1.74 | 1.55 | 1.36 | 2.12 | 2.31 | 2.5 | 1.93
13.5 | 2025-02-11 | HG | 1.84 | 0.45 | 0.2 | 6.9 | 2.3 | 2.74
14 | 2025-02-11 | HG | 1.59 | 0.4 | 0.2 | 7.11 | 2.33 | 2.74 | Borderline high IQC result. Not clinically significant. Run accepted HG | [6 empty] | QC 2 (Set) 3MT
14.5 | 2025-02-13 | HG | 1.69 | 0.4 | 0.24 | 6.98 | 2.13 | 2.31 | [5 empty] | QC 2 (Set) - 3MT |  | X | Minus 1SD | Minus 2SD | Minus 3SD | Plus 1SD | Plus 2D | Plus 3D | Mean
15 | 2025-02-13 | HG | 1.74 | 0.44 | 0.2 | 6.8 | 2.14 | 2.38 | [5 empty] | Mean | 2.29 | 0 | 2.06 | 1.83 | 1.6 | 2.52 | 2.75 | 2.98 | 2.29
15.5 | 2025-02-13 | HG | 1.73 | 0.44 | 0.22 | 6.84 | 2.13 | 2.29 | [5 empty] | SD | 0.23 | 50 | 2.06 | 1.83 | 1.6 | 2.52 | 2.75 | 2.98 | 2.29
16 | 2025-02-13 | HG | 1.77 | 0.44 | 0.19 | 6.61 | 2.03 | 2.25
16.5 | 2025-02-13 | HG | 1.69 | 0.43 | 0.27 | 6.91 | 2.2 | 2.42 | Borderline high 3MT L1 QC accepted HG
17 | 2025-02-13 | HG | 1.74 | 0.4 | 0.23 | 6.92 | 2.1 | 2.41
17.25 | 2025-02-13 | HG | 1.74 | 0.41 | 0.18 | 6.76 | 2.08 | 2.33
17.5 | 2025-02-25 | HG | 1.72 | 0.46 | 0.22 | 6.78 | 2.15 | 2.27
18 | 2025-02-25 | HG | 1.76 | 0.44 | 0.22 | 6.44 | 2.08 | 2.07
18.5 | 2025-02-25 | HG | 1.75 | 0.47 | 0.22 | 6.87 | 2.19 | 2.17
19 | 2025-02-25 | HG | 1.79 | 0.51 | 0.25 | 6.75 | 2.17 | 2.16
19.5 | 2025-03-11 | HG | 1.62 | 0.35 | 0.22 | 6.37 | 1.82 | 2.05
20 | 2025-03-11 | HG | 1.72 | 0.37 | 0.21 | 6.38 | 1.81 | 2.11
20.5 | 2025-03-11 | HG | 1.63 | 0.37 | 0.23 | 6.42 | 1.82 | 2.12
21 | 2025-03-11 | HG | 1.65 | 0.4 | 0.25 | 6.34 | 1.78 | 2.14
21.5 | 2025-03-18 | HG | 1.96 | 0.46 | 0.23 | 7.43 | 2.16 | 2.25 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
22 | 2025-03-18 | HG | 1.84 | 0.42 | 0.27 | 7.3 | 2.16 | 2.21 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
22.5 | 2025-03-18 | HG | 1.94 | 0.48 | 0.25 | 7.14 | 2.08 | 2.19 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
23 | 2025-03-18 | HG | 1.98 | 0.46 | 0.24 | 7.24 | 2.11 | 2.28 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
23.5 | 2025-04-01 | HG | 1.99 | 0.5 | 0.25 | 8.07 | 2.46 | 2.39 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
24 | 2025-04-01 | HG | 1.96 | 0.53 | 0.27 | 7.65 | 2.32 | 2.3 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
24.5 | 2025-04-01 | HG | 1.95 | 0.5 | 0.21 | 7.75 | 2.35 | 2.32 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
25 | 2025-04-01 | HG | 1.95 | 0.49 | 0.22 | 7.94 | 2.35 | 2.28 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
25.5 | 2025-04-10 | HG/SH | 1.632 | 0.388 | 0.195 | 6.56 | 2.044 | 2.288 | Fresh Cal and IQC
26 | 2025-04-10 | HG/SH | 1.66 | 0.411 | 0.261 | 6.732 | 2.11 | 2.391 | Fresh Cal and IQC
26.5 | 2025-04-10 | HG/SH | 1.57 | 0.381 | 0.246 | 6.502 | 2.021 | 2.323 | Fresh Cal and IQC
27 | 2025-04-10 | HG/SH | 1.608 | 0.39 | 0.249 | 6.332 | 1.946 | 2.278 | Fresh Cal and IQC
27.5 | 2025-04-29 | HG | 1.69 | 0.39 | 0.2 | 5.95 | 1.85 | 2.12
28 | 2025-04-29 | HG | 1.72 | 0.4 | 0.26 | 5.92 | 1.86 | 2.1
28.5 | 2025-04-29 | HG | 1.66 | 0.37 | 0.24 | 5.86 | 1.83 | 2.05
29 | 2025-04-29 | HG | 1.67 | 0.41 | 0.22 | 6.29 | 1.92 | 2.21
29.5 | 2025-05-08 | HG/AS | 1.76 | 0.52 | 0.22 | 6.67 | 2.11 | 2.26 | Fresh mobile phase
30 | 2025-05-08 | HG/AS | 1.75 | 0.49 | 0.23 | 6.66 | 2.12 | 2.31 | Fresh mobile phase
30.5 | 2025-05-08 | HG/AS | 1.76 | 0.51 | 0.21 | 6.76 | 2.16 | 2.23 | Fresh mobile phase
31 | 2025-05-08 | HG/AS | 1.76 | 0.49 | 0.25 | 6.89 | 2.14 | 2.28 | Fresh mobile phase
31.5 | 2025-05-22 | HG/AS | 1.53 | 0.34 | 0.26 | 6.09 | 2.06 | 2.67
32 | 2025-05-22 | HG/AS | 1.67 | 0.43 | 0.28 | 6.09 | 2.05 | 2.65 | Borderline high 3MT L1 QC accepted HG
32.5 | 2025-05-22 | HG/AS | 1.69 | 0.5 | 0.26 | 6.2 | 2.05 | 2.67
33 | 2025-05-22 | HG/AS | 1.67 | 0.45 | 0.3 | 6.19 | 2.11 | 2.64 | Borderline high 3MT L1 QC accepted HG
33.5
34
34.5
35
35.5
36
36.5
37
37.5
38
38.5
39
39.5
40
40.5
41
41.5
42
42.5
43
43.5
44
44.5
45
45.5
46
46.5
47
47.5
48
48.5
49
49.5
50
50.5
51
51.5
52
52.5
53
53.5
54

## METS 63510 Verification
Run | Date | Operator | Level 1 |  |  | Level 2 |  |  | Comments | QC REVIEW | Level 1
|  |  | NMET | MET | 3MT | NMET | MET | 3MT |  |  | NMET | MET | 3MT
1 | 2024-07-16 | HG | 1.73 | 0.43 | 0.19 | 6.81 | 2.08 | 2.3 |  | Mean | 1.7334 | 0.45794 | 0.21452 |  |  | QC 1 (Set) NMET
1.5 | 2024-07-16 | HG | 1.74 | 0.46 | 0.18 | 6.69 | 2.03 | 2.29 |  | SD | 0.14937 | 0.068916 | 0.031695 | QC 1 (Set) - NMET |  | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
2 | 2024-07-16 | HG | 1.81 | 0.47 | 0.2 | 6.7 | 1.96 | 2.22 |  | %CV | 8.6173 | 15.0491 | 14.7747 | Mean | 1.65 | 0 | 1.51 | 1.37 | 1.79 | 1.93 | 1.65
2.5 | 2024-07-16 | HG | 1.69 | 0.45 | 0.19 | 6.97 | 2.1 | 2.41 | [5 empty] | SD | 0.14 | 50 | 1.51 | 1.37 | 1.79 | 1.93 | 1.65
3 | 2024-07-16 | HG | 1.85 | 0.51 | 0.21 | 6.79 | 2.06 | 2.26
3.5 | 2024-09-02 | HG | 1.78 | 0.6 | 0.24 | 6.93 | 2.12 | 2.47 | [7 empty] | QC 1 (Set) MET
4 | 2024-09-02 | HG | 1.82 | 0.57 | 0.21 | 6.96 | 2.21 | 2.51 | [5 empty] | QC 1 (Set) - MET |  | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
4.5 | 2024-09-02 | HG | 1.78 | 0.54 | 0.23 | 6.59 | 2.1 | 2.37 |  |  | Level 2 |  |  | Mean | 0.45 | 0 | 0.37 | 0.29 | 0.53 | 0.61 | 0.45
5 | 2024-09-02 | HG | 1.71 | 0.57 | 0.23 | 7.16 | 2.23 | 2.64 |  | Running Qc | NMET | MET | 3MT | SD | 0.08 | 50 | 0.37 | 0.29 | 0.53 | 0.61 | 0.45
5.5 | 2024-09-02 | HG | 1.73 | 0.55 | 0.2 | 6.99 | 2.17 | 2.49 |  | Mean | 6.8162 | 2.1139 | 2.3565
6 | 2024-09-02 | HG | 1.64 | 0.5 | 0.18 | 6.32 | 2.03 | 2.33 |  | SD | 0.78028 | 0.28905 | 0.2834 |  |  | QC 1 (Set) 3MT
6.5 | 2024-09-02 | HG | 1.66 | 0.51 | 0.21 | 6.29 | 1.98 | 2.31 |  | %CV | 11.4474 | 13.6738 | 12.0265 | QC 1 (Set) - 3MT |  | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
7 | 2024-09-02 | HG | 1.77 | 0.49 | 0.23 | 6.62 | 2.13 | 2.28 | [5 empty] | Mean | 0.21 | 0 | 0.18 | 0.15 | 0.24 | 0.27 | 0.21
7.5 | 2024-09-02 | HG | 1.94 | 0.61 | 0.19 | 6.49 | 2.1 | 2.33 | [5 empty] | SD | 0.03 | 50 | 0.18 | 0.15 | 0.24 | 0.27 | 0.21
8 | 2024-09-02 | HG | 1.8 | 0.53 | 0.23 | 6.03 | 1.94 | 2.22
8.5 | 2024-09-03 | HG | 1.51 | 0.34 | 0.23 | 6.3 | 1.91 | 2.12
9 | 2024-09-03 | HG | 1.53 | 0.38 | 0.28 | 5.76 | 1.78 | 1.88 | [7 empty] | QC 2 (Set) NMET
9.5 | 2024-09-03 | HG | 1.46 | 0.32 | 0.18 | 5.99 | 1.82 | 2.02 | [5 empty] | QC 2 (Set) - NMET |  | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
10 | 2024-09-03 | HG | 1.57 | 0.37 | 0.22 | 5.86 | 1.86 | 1.89 | [5 empty] | Mean | 6.44 | 0 | 5.98 | 5.52 | 6.9 | 7.36 | 6.44
10.5 | 2024-09-03 | HG | 1.47 | 0.38 | 0.16 | 5.84 | 1.85 | 1.98 | [5 empty] | SD | 0.46 | 50 | 5.98 | 5.52 | 6.9 | 7.36 | 6.44
11 | 2024-09-17 | HG | 1.58 | 0.39 | 0.27 | 6.44 | 1.82 | 2.35
11.5 | 2024-09-17 | HG | 1.51 | 0.37 | 0.21 | 5.6 | 1.57 | 1.94 | [7 empty] | QC 2 (Set) MET
12 | 2024-09-17 | HG | 1.52 | 0.39 | 0.19 | 7.19 | 2.1 | 2.51 | [5 empty] | QC 2 (Set) - MET |  | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
12.5 | 2024-09-17 | HG | 1.51 | 0.42 | 0.26 | 6.43 | 1.88 | 2.38 | [5 empty] | Mean | 1.93 | 0 | 1.75 | 1.57 | 2.11 | 2.29 | 1.93
13 | 2024-09-17 | HG | 1.7 | 0.47 | 0.22 | 7.05 | 2 | 2.58 | [5 empty] | SD | 0.18 | 50 | 1.75 | 1.57 | 2.11 | 2.29 | 1.93
13.5 | 2024-09-17 | HG | 1.5 | 0.37 | 0.26 | 6.13 | 1.7 | 2.26
14 | 2024-09-17 | HG | 1.44 | 0.35 | 0.2 | 5.33 | 1.49 | 1.87 | [7 empty] | QC 2 (Set) 3MT
14.5 | 2024-09-17 | HG | 1.44 | 0.37 | 0.18 | 6.84 | 1.99 | 2.42 | [5 empty] | QC 2 (Set) - 3MT |  | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
15 | 2024-09-17 | HG | 1.43 | 0.4 | 0.25 | 6.12 | 1.78 | 2.29 | [5 empty] | Mean | 2.29 | 0 | 2.09 | 1.89 | 2.49 | 2.69 | 2.29
15.5 | 2024-09-17 | HG | 1.62 | 0.45 | 0.21 | 6.71 | 1.9 | 2.48 | [5 empty] | SD | 0.2 | 50 | 2.09 | 1.89 | 2.49 | 2.69 | 2.29
16 | 2024-10-16 | HG | 1.68 | 0.48 | 0.16 | 6.18 | 1.64 | 2.35
16.5 | 2024-10-16 | HG | 1.71 | 0.47 | 0.23 | 6.18 | 1.94 | 2.27
17 | 2024-10-16 | HG | 1.87 | 0.44 | 0.23 | 6.51 | 1.89 | 2.45
17.25 | 2024-10-16 | HG | 1.61 | 0.38 | 0.18 | 6.16 | 1.7 | 2.35
17.5 | 2024-10-16 | HG | 1.61 | 0.38 | 0.22 | 6.43 | 1.75 | 2.4
18 | 2024-12-23 | HG | 2 | 0.6 | 0.21 | 7.28 | 2.38 | 2.15 | Run rejected. To re-extract. HG
18.5 | 2024-12-23 | HG | 1.88 | 0.51 | 0.2 | 7.59 | 2.57 | 2.34 | Run rejected. To re-extract. HG
19 | 2024-12-23 | HG | 1.89 | 0.48 | 0.18 | 7.46 | 2.43 | 2.23 | Run rejected. To re-extract. HG
19.5 | 2024-12-23 | HG | 1.82 | 0.52 | 0.2 | 7.03 | 2.4 | 2.22 | Run rejected. To re-extract. HG
20 | 2024-12-23 | HG | 1.93 | 0.54 | 0.31 | 6.73 | 2.22 | 2.05 | Run rejected. To re-extract. HG
20.5 | 2024-12-23 | HG | 1.99 | 0.59 | 0.16 | 8.51 | 2.86 | 2.59 | Run rejected. To re-extract. HG
21 | 2024-12-23 | HG | 2.01 | 0.57 | 0.19 | 8.27 | 2.63 | 2.7 | Run rejected. To re-extract. HG
21.5 | 2024-12-23 | HG | 1.97 | 0.53 | 0.22 | 7.25 | 2.37 | 2.45 | Run rejected. To re-extract. HG
22 | 2024-12-23 | HG | 2.19 | 0.58 | 0.22 | 8.03 | 2.55 | 2.76 | Run rejected. To re-extract. HG
22.5 | 2025-01-06 | HG | 1.65 | 0.46 | 0.16 | 6.71 | 2.17 | 2.45 | Go live
23 | 2025-01-06 | HG | 1.66 | 0.43 | 0.15 | 5.79 | 1.92 | 2.13
23.5 | 2025-01-06 | HG | 1.79 | 0.52 | 0.2 | 6.44 | 2.11 | 2.42
24 | 2025-01-06 | HG | 1.57 | 0.45 | 0.19 | 6.53 | 2.22 | 2.45
24.5 | 2025-01-06 | HG | 1.83 | 0.57 | 0.18 | 6.78 | 2.11 | 2.64
25 | 2025-01-06 | HG | 1.59 | 0.53 | 0.23 | 6.46 | 1.93 | 2.63
25.5 | 2025-01-06 | HG | 1.86 | 0.54 | 0.16 | 6.11 | 1.95 | 2.67
26 | 2025-01-14 | HG | 1.91 | 0.49 | 0.21 | 8.67 | 2.83 | 3.16 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
26.5 | 2025-01-14 | HG | 1.82 | 0.56 | 0.26 | 8.92 | 2.85 | 3.21 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
27 | 2025-01-14 | HG | 1.81 | 0.54 | 0.24 | 8.99 | 2.88 | 3.16 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
27.5 | 2025-01-14 | HG | 1.8 | 0.45 | 0.26 | 8.83 | 2.76 | 3.22 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
28 | 2025-01-14 | HG | 1.85 | 0.46 | 0.23 | 8.31 | 2.65 | 2.95 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
28.5 | 2025-01-14 | HG | 1.86 | 0.49 | 0.21 | 8.92 | 2.84 | 3.08 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
29 | 2025-01-14 | HG | 1.88 | 0.55 | 0.23 | 8.85 | 2.73 | 3.12 | Fresh calibrator. All patient results in run low, low IQC acceptable. Run accepted. HG
29.5 | 2025-01-22 | HG | 1.7 | 0.49 | 0.16 | 6.43 | 2.04 | 2.16 | Fresh IQC 22/01/25
30 | 2025-01-22 | HG | 1.6 | 0.34 | 0.18 | 6.52 | 2.07 | 2.18 | Fresh IQC 22/01/25
30.5 | 2025-01-22 | HG | 1.63 | 0.49 | 0.17 | 6.18 | 2.02 | 2.11 | Fresh IQC 22/01/25
31 | 2025-01-22 | HG | 1.68 | 0.49 | 0.19 | 6.17 | 2.04 | 2.07 | Fresh IQC 22/01/25
31.5 | 2025-01-22 | HG | 1.69 | 0.51 | 0.2 | 6.31 | 2.04 | 2.12 | Fresh IQC 22/01/25
32 | 2025-01-22 | HG | 1.62 | 0.41 | 0.18 | 6.37 | 2.1 | 2.19 | Fresh IQC 22/01/25
32.5 | 2025-01-22 | HG | 1.71 | 0.49 | 0.17 | 6.17 | 1.97 | 2.13 | Fresh IQC 22/01/25
33 | 2025-01-22 | HG | 1.77 | 0.42 | 0.17 | 6.18 | 1.92 | 2.16 | Old IQC from 02/09/24
33.5 | 2025-01-22 | HG | 1.81 | 0.42 | 0.2 | 6.4 | 2 | 2.22 | Old IQC from 02/09/24
34 | 2025-02-11 | HG | 1.64 | 0.41 | 0.23 | 6.91 | 2.26 | 2.46
34.5 | 2025-02-11 | HG | 1.73 | 0.41 | 0.21 | 6.92 | 2.36 | 2.62 | Borderline high IQC result. Not clinically significant. Run accepted HG
35 | 2025-02-11 | HG | 1.84 | 0.45 | 0.2 | 6.9 | 2.3 | 2.74 | Borderline high IQC result. Not clinically significant. Run accepted HG
35.5 | 2025-02-11 | HG | 1.59 | 0.4 | 0.2 | 7.11 | 2.33 | 2.74 | Borderline high IQC result. Not clinically significant. Run accepted HG
36 | 2025-02-13 | HG | 1.69 | 0.4 | 0.24 | 6.98 | 2.13 | 2.31
36.5 | 2025-02-13 | HG | 1.74 | 0.44 | 0.2 | 6.8 | 2.14 | 2.38
37 | 2025-02-13 | HG | 1.73 | 0.44 | 0.22 | 6.84 | 2.13 | 2.29
37.5 | 2025-02-13 | HG | 1.77 | 0.44 | 0.19 | 6.61 | 2.03 | 2.25
38 | 2025-02-13 | HG | 1.69 | 0.43 | 0.27 | 6.91 | 2.2 | 2.42
38.5 | 2025-02-13 | HG | 1.74 | 0.4 | 0.23 | 6.92 | 2.1 | 2.41
39 | 2025-02-13 | HG | 1.74 | 0.41 | 0.18 | 6.76 | 2.08 | 2.33
39.5 | 2025-02-25 | HG | 1.72 | 0.46 | 0.22 | 6.78 | 2.15 | 2.27
40 | 2025-02-25 | HG | 1.76 | 0.44 | 0.22 | 6.44 | 2.08 | 2.07
40.5 | 2025-02-25 | HG | 1.75 | 0.47 | 0.22 | 6.87 | 2.19 | 2.17
41 | 2025-02-25 | HG | 1.79 | 0.51 | 0.25 | 6.75 | 2.17 | 2.16
41.5 | 2025-03-11 | HG | 1.62 | 0.35 | 0.22 | 6.37 | 1.82 | 2.05
42 | 2025-03-11 | HG | 1.72 | 0.37 | 0.21 | 6.38 | 1.81 | 2.11
42.5 | 2025-03-11 | HG | 1.63 | 0.37 | 0.23 | 6.42 | 1.82 | 2.12
43 | 2025-03-11 | HG | 1.65 | 0.4 | 0.25 | 6.34 | 1.78 | 2.14
43.5 | 2025-03-18 | HG | 1.96 | 0.46 | 0.23 | 7.43 | 2.16 | 2.25 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
44 | 2025-03-18 | HG | 1.84 | 0.42 | 0.27 | 7.3 | 2.16 | 2.21 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
44.5 | 2025-03-18 | HG | 1.94 | 0.48 | 0.25 | 7.14 | 2.08 | 2.19 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
45 | 2025-03-18 | HG | 1.98 | 0.46 | 0.24 | 7.24 | 2.11 | 2.28 | Borderline high NMET IQC. All patients in run have NMET within the reference range. No clinical impact, run accepted.HG
45.5 | 2025-04-01 | HG | 1.99 | 0.5 | 0.25 | 8.07 | 2.46 | 2.39 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
46 | 2025-04-01 | HG | 1.96 | 0.53 | 0.27 | 7.65 | 2.32 | 2.3 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
46.5 | 2025-04-01 | HG | 1.95 | 0.5 | 0.21 | 7.75 | 2.35 | 2.32 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
47 | 2025-04-01 | HG | 1.95 | 0.49 | 0.22 | 7.94 | 2.35 | 2.28 | Borderline high IQC. All results in run within reference range. No clinical impact. Run accepted HG/RH
47.5 | 2025-04-10 | HG/SH | 1.632 | 0.388 | 0.195 | 6.56 | 2.044 | 2.288
48 | 2025-04-10 | HG/SH | 1.66 | 0.411 | 0.261 | 6.732 | 2.11 | 2.391
48.5 | 2025-04-10 | HG/SH | 1.57 | 0.381 | 0.246 | 6.502 | 2.021 | 2.323
49 | 2025-04-10 | HG/SH | 1.608 | 0.39 | 0.249 | 6.332 | 1.946 | 2.278
49.5 | 2025-04-29 | HG | 1.69 | 0.39 | 0.2 | 5.95 | 1.85 | 2.12
50 | 2025-04-29 | HG | 1.72 | 0.4 | 0.26 | 5.92 | 1.86 | 2.1
50.5 | 2025-04-29 | HG | 1.66 | 0.37 | 0.24 | 5.86 | 1.83 | 2.05
51 | 2025-04-29 | HG | 1.67 | 0.41 | 0.22 | 6.29 | 1.92 | 2.21
51.5
52
52.5
53
53.5
54

## EQA
Run | Date | Operator | Distribution | EQA Result | Previous Result | ALTM | MLTM | % Deviation MLTM | % Deviation ALTM | Comments | Distribution | Previous Result | ALTM | MLTM (greeen) | EQA Acceptable % Deviation
[15 empty] | X | Minus 1SD | Minus 2SD | Plus 1SD | Plus 2D | Mean
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 63-12 |  | 29.7739 | 27.4749 | 0 | -12.75 | -25.5 | 12.75 | 25.5 | 0
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-1 |  |  |  | 25 | -12.75 | -25.5 | 12.75 | 25.5 | 0
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-2 | 271.1 | 266.181 | 268.529
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-3 | 139.2 | 147.36 | 159.695
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-4 | 83.1 | 83.156 | 77.907
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-5 | 214.8 | 203.652 | 194.358
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-6 | 146.8 | 163.638 | 160.724
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-7 | 145.2 | 150.128 | 148.068
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-8 | 294.5 | 276.16 | 248.32
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-9 | 220 | 211.187 | 218.35
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-10 | 87.8 | 90.744 | 90.738
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-11 | 152.2 | 159.296 | 162.194
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 64-12 | 27 | 30.683 | 29.193
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-1 | 28 | 29.15 | 27.876
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-2 | 122.8 | 132.546 | 126.816
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-3 | 182 | 192.454 | 179.504
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-4 | 130.2 | 145.625 | 145.716
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-5 | 79.1 | 84.871 | 83.098
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-6 | 27.7 | 29.386 | 29.16
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-7 | 296.9 | 263.854 | 260.553
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-8 | 127.7 | 131.097 | 125.156
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-9 | 184.7 | 187.74 | 188.233
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-10 | 73.3 | 82.98 | 80.403
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-11 | 124.5 | 130.482 | 126.58
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A |  | 65-12
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A